## Slide 1: Personal exposure to NO and NO2 from passing vehicles
Dr. Mark Peckham & Jamie Parnell

## Slide 2: CLD50 for [NO] & [NO2] fast measurements
Time response ~ 15ms
Sensitivity 5 ppb – 5,000 ppm across 8 detection ranges
Portable ( 14kg / 45×37×13 cm )
Built-in 10Hz data logger
Data output: – 0 – 10V analogue DC on 10 & 100 Hz BNC
AK protocol (option)

## Slide 3: Child transient NOx exposure

## Slide 4: Capturing “gross emitters”

## Slide 5: Capturing “gross emitters”
Used by:
Law enforcement and government to catch SCR system “defeat devices”
Local government to check which vehicles are polluting the most in Clean Air Zones

## Slide 6: NOx from passing Turbostar diesel train

## Slide 7: Measurement of pollution from the vehicle in front…

## Slide 8: NO & NO2 urban chase studies

## Slide 9: Chase study of bus stop manoeuvre

## Slide 10: Cabin Air Quality

## Slide 11: Van emissions entering cabin air vent

## Slide 12: Roadside dispersion model validation

## Slide 13: Cyclist NOx exposure

## Slide 14: Medical respiratory research